## BASE BID
ITEM # | REF. SHEET | DETAIL | CSI SECT | Sub Contractor | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR HOURS | TOTAL LABOR HOURS | PER HOUR LABOR RATE | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | ITEM COST | TRADE COST | UNIT ITEM COST WITH MARKUPS | TOTAL ITEM COST WITH MARKUPS
Estimate of Materials Quantities and Cost of Construction
CLICK HERE TO GO BACK TO COST SUMMARY
|  |  | Sub-Total | 168871.2472 |  |  |  |  | Date: | 4606500%
|  | Material Sales Tax | 8.603% | 4520.4384 | (Adjust the percentage for Material tax as required) |  |  |  | Project: | Intrust Bank-Topeka Branch
|  | Overhead & Profit / Inflation (Material) | 20% | 10508.9815 | (Adjust the percentage for Overhead & Profit as required) |  |  |  | Project Location: | 1035 SW Topeka Blvd, Topeka, KS 66612
|  | Overhead & Profit (Labor) | 20% | 23265.2679 | (Adjust the percentage for Overhead & Profit as required) |  |  |  | Project and Wage Type: | Private (Non-Prevailing wage)
|  | Bond Fee | 1.5% | 3107.489 | (Adjust the percentage for Bond Fee as required)
|  |  | Total Bid | 210273.424 |  |  |  |  | Gross Internal Area of Structure (SF)
Covered Area of Structure (SF)
|  | Material Wastage 1 | 0% | ( for Quantities in Each & LS) |  |  |  |  | No. of Units | -
|  | Material Wastage 2 | 5% | ( for Quantities in LF, SF, SY, CY, LBS, TONS) |  |  |  |  | No. of Floors and Overall Height
| (Changing the wastage percentage here will update the wastage for whole tab) | [7 empty] | Hardscaping Area (SF) | 0
[9 empty] | Soft scaping Area (SF) | 0
To change hourly rates for any trade please go to "Hourly Rates" Tab
ITEM # | REF. SHEET | DETAIL | CSI SECT | Sub Contractor | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR HOURS | TOTAL LABOR HOURS | PER HOUR LABOR RATE | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | ITEM COST | TRADE COST | UNIT COST WITH MARKUPS | TOTAL COST WITH MARKUPS
|  |  | DIV-01 |  | General | [11 empty] | 11820.4298 |  |  | 157050.8174
Plan Design And Permitting
1 |  |  | DIV-01 | General Requirements | Architecture (Assumed By Owner) | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
2 |  |  | DIV-01 | General Requirements | Engineering (Assumed By Owner) | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
3 |  |  | DIV-01 | General Requirements | Surveying | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
4 |  |  | DIV-01 | General Requirements | Soils Report (Assumed By Owner) | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
5 |  |  | DIV-01 | General Requirements | Geological Report (Assumed By Owner) | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
6 |  |  | DIV-01 | General Requirements | Concrete Testing | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
7 |  |  | DIV-01 | General Requirements | Permit Fee | 1 | 0% | 1 | LS | 21.2389 | 21.2389 | 73.945 | 1570.5082 |  | 0 | 1570.5082 |  | 1912.879 | 1912.879
8 |  |  | DIV-01 | General Requirements | Permits (Based On Interior Finish Area) | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
9 |  |  | DIV-01 | General Requirements | Plan Coordination | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
10 |  |  | DIV-01 | General Requirements | Roof Inspection | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
11 |  |  | DIV-01 | General Requirements | Blueprints (?? Pages) | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
Utilities
12 |  |  | DIV-01 | General Requirements | Utilities During Construction (Based On Interior Finish Area) | 1 | 0% | 1 | LS | 12.2336 | 12.2336 | 73.945 | 904.6127 |  | 0 | 904.6127 |  | 1101.8183 | 1101.8183
13 |  |  | DIV-01 | General Requirements | Port-O-Potty (Based On Interior Finish Area) | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
14 |  |  | DIV-01 | General Requirements | Temporary Power (Based On Interior Finish Area) | 1 | 0% | 1 | LS | 24.4353 | 24.4353 | 73.945 | 1806.8697 |  | 0 | 1806.8697 |  | 2200.7672 | 2200.7672
Equipment And Tools
15 |  |  | DIV-01 | General Requirements | Tool Rentals | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
16 |  |  | DIV-01 | General Requirements | Tool Shed | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
17 |  |  | DIV-01 | General Requirements | Dust Control | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
18 |  |  | DIV-01 | General Requirements | Ice, Water, Beverages | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
19 |  |  | DIV-01 | General Requirements | Garbage Dumpster / Trash Containers | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
20 |  |  | DIV-01 | General Requirements | Mobilization/Demobilization (Temporary Control & Facilities) | 1 | 0% | 1 | LS | 46.7255 | 46.7255 | 73.945 | 3455.118 |  | 0 | 3455.118 |  | 4208.3337 | 4208.3337
Signage And Promotion
21 |  |  | DIV-01 | General Requirements | Job Signs | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
22 |  |  | DIV-01 | General Requirements | Job Photos | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
23 |  |  | DIV-01 | General Requirements | Signage | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
24 |  |  | DIV-01 | General Requirements | Promotion/Entertainment | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
25 |  |  | DIV-01 | General Requirements | Misc. | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
Cleaning And Final
26 |  |  | DIV-01 | General Requirements | Trash | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
27 |  |  | DIV-01 | General Requirements | Final Cleaning | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
28 |  |  | DIV-01 | General Requirements | Window Washing (Rough # Of Windows ) | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
29 |  |  | DIV-01 | General Requirements | Punch List Items | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
Bonds, Insurance, Legal
30 |  |  | DIV-01 | General Requirements | Casualty Insurance | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
31 |  |  | DIV-01 | General Requirements | Medical Insurance | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
32 |  |  | DIV-01 | General Requirements | General Liability Insurance | 1 | 0% | 1 | LS |  | 0 | 73.945 | 0 |  | 0 | 0 |  | 0 | 0
Project Management & Supervision
33 |  |  | DIV-01 | General Requirements | Project Management & Supervision | 1 | 0% | 1 | LS | 55.2211 | 55.2211 | 73.945 | 4083.3213 |  | 0 | 4083.3213 |  | 4973.4853 | 4973.4853
|  |  | DIV-02 |  | Existing Conditions | [11 empty] | 1080
Demolition
Electrical Demolition
34 |  |  | DIV-02 | Demo - Building | Remove Existing Light Pole | 3 | 0% | 3 | EA | 2 | 6 | 54 | 324 |  | 0 | 324 |  | 131.544 | 394.632
35 |  |  | DIV-02 | Demo - Building | Remove Existing Spot Light | 10 | 0% | 10 | EA | 1.3 | 13 | 54 | 702 |  | 0 | 702 |  | 85.5036 | 855.036
36 |  |  | DIV-02 | Demo - Building | Remove Existing Underground Utility | 4 | 0% | 4 | LF | 0.25 | 1 | 54 | 54 |  | 0 | 54 |  | 16.443 | 65.772
|  |  | DIV-26 |  | Electrical | [11 empty] | 121676.6934
Site Elctrical
Lighting Fixture
Lighting Fixture
37 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | P4 – Led Area Light – Type Iv W/ 30' Round Straight Steel Pole W/ Handhole & Bolt Covers Manufacturer: Gardco Model: Opf-S | 4 | 0% | 4 | EA | 6 | 24 | 73.945 | 1774.68 | 225 | 900 | 2674.68 |  | 834.0872 | 3336.3486
38 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | P42 – Led Area Light – Type Iv W/ 30' Round Straight Steel Pole W/ Handhole & Bolt Covers Manufacturer: Gardco Model: Opf-S | 4 | 0% | 4 | EA | 6 | 24 | 73.945 | 1774.68 | 225 | 900 | 2674.68 |  | 834.0872 | 3336.3486
Pole Base Detail
39 |  |  | DIV-26 | Electrician | 3/4"X10' Cu Clad Ground Rod | 8 | 0% | 8 | EA | 0.35 | 2.8 | 73.945 | 207.046 | 4.66 | 37.28 | 244.326 |  | 37.6055 | 300.8444
40 |  |  | DIV-26 | Electrician | #6 Cu Ground Wire | 250 | 5% | 262.5 | LF | 0.01231 | 3.2314 | 73.945 | 238.944 | 0.7605 | 199.6312 | 438.5753 |  | 2.1014 | 551.6166
41 |  |  | DIV-26 | Electrician | 3/4" Rgs Conduit | 80 | 5% | 84 | LF | 0.1 | 8.4 | 73.945 | 621.138 | 4.02 | 337.68 | 958.818 |  | 14.2539 | 1197.3267
42 |  |  | DIV-26 | Electrician | Grout Under Pole Base With Weep Hole 1" Chamfer | 8 | 0% | 8 | EA | 1 | 8 | 73.945 | 591.56 | 6 | 48 | 639.56 |  | 97.8969 | 783.1755
43 |  |  | DIV-26 | Electrician | Galvanized Anchor Bolts (4-Ea) | 8 | 0% | 8 | EA | 1.162 | 9.296 | 73.945 | 687.3927 | 14 | 112 | 799.3927 |  | 122.93 | 983.4402
44 |  |  | DIV-26 | Electrician | Pvc To Steel Adaptor | 16 | 0% | 16 | EA | 0.2075 | 3.32 | 73.945 | 245.4974 | 2.5 | 40 | 285.4974 |  | 21.9518 | 351.2287
Feeder Items
45 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | #6 Awg Cu-3/4" C | 2 | 0% | 2 | EA | 0.4565 | 0.913 | 73.945 | 67.5118 | 5.5 | 11 | 78.5118 |  | 48.2939 | 96.5879
46 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Intersystem Ground Bars Per Nec Section 250.94 | 1 | 0% | 1 | EA | 0.7885 | 0.7885 | 73.945 | 58.3056 | 9.5 | 9.5 | 67.8056 |  | 83.4168 | 83.4168
47 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Main Bonding Jumper Sized Per Nec | 1 | 0% | 1 | EA | 0.581 | 0.581 | 73.945 | 42.962 | 7 | 7 | 49.962 |  | 61.465 | 61.465
48 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Neutral Bus | 1 | 0% | 1 | EA | 0.664 | 0.664 | 73.945 | 49.0995 | 8 | 8 | 57.0995 |  | 70.2457 | 70.2457
49 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Ground Bus | 1 | 0% | 1 | EA | 0.664 | 0.664 | 73.945 | 49.0995 | 8 | 8 | 57.0995 |  | 70.2457 | 70.2457
50 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Supply Side Equipment Bonding Jumper | 1 | 0% | 1 | EA | 0.5395 | 0.5395 | 73.945 | 39.8933 | 6.5 | 6.5 | 46.3933 |  | 57.0747 | 57.0747
51 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Equipment Grounding Conductor | 1 | 0% | 1 | EA | 0.2905 | 0.2905 | 73.945 | 21.481 | 3.5 | 3.5 | 24.981 |  | 30.7325 | 30.7325
52 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Grounding Bushing | 1 | 0% | 1 | EA | 0.2905 | 0.2905 | 73.945 | 21.481 | 3.5 | 3.5 | 24.981 |  | 30.7325 | 30.7325
53 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | #3/0 Awg-1" C Grounding Electrode Conductor | 4 | 0% | 4 | EA | 1.494 | 5.976 | 73.945 | 441.8953 | 18 | 72 | 513.8953 |  | 158.0529 | 632.2116
54 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Hydraulic Compression Or Exothermic Connection | 1 | 0% | 1 | EA | 0.913 | 0.913 | 73.945 | 67.5118 | 11 | 11 | 78.5118 |  | 96.5879 | 96.5879
55 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 3/4"X10' Copper Clad Driven Ground Rod | 1 | 0% | 1 | EA | 0.35 | 0.35 | 73.945 | 25.8807 | 4.66 | 4.66 | 30.5407 |  | 37.6055 | 37.6055
56 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Grounding Electrode Conductor Ground Bar Per Nec | 1 | 0% | 1 | EA | 0.996 | 0.996 | 73.945 | 73.6492 | 12 | 12 | 85.6492 |  | 105.3686 | 105.3686
57 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Spd, Surge Protection Device | 1 | 0% | 1 | EA | 4.12 | 4.12 | 73.945 | 304.6534 | 125 | 125 | 429.6534 |  | 534.2329 | 534.2329
58 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Utility Meter | 1 | 0% | 1 | EA | 2.85 | 2.85 | 73.945 | 210.7432 | 40 | 40 | 250.7432 |  | 308.8981 | 308.8981
59 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Utility Transformer | 1 | 0% | 1 | EA | 34 | 34 | 73.945 | 2514.13 | 2850 | 2850 | 5364.13 |  | 6782.3736 | 6782.3736
Feeder Cable
60 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 4#1 Awg Cu, 1#8 Gnd Cu Thw | 50 | 5% | 52.5 | LF | 0.09 | 4.725 | 73.945 | 349.3901 | 9.2171 | 483.8978 | 833.2879 |  | 20.1371 | 1057.1988
61 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 4#350 Kcmil Cu, 1#4 Gnd Cu Thw | 110 | 5% | 115.5 | LF | 0.19269 | 22.2557 | 73.945 | 1645.6974 | 36.6561 | 4233.7796 | 5879.4769 |  | 65.2026 | 7530.8984
62 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 3#1, #8 Cu Thw | 25 | 5% | 26.25 | LF | 0.07 | 1.8375 | 73.945 | 135.8739 | 7.0269 | 184.4561 | 320.3301 |  | 15.4769 | 406.2688
63 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 4" Pvc Sch 40 Conduit With Pull String (Length & Size Assumed) | 100 | 5% | 105 | LF | 0.177 | 18.585 | 73.945 | 1374.2678 | 10.1 | 1060.5 | 2434.7678 |  | 29.1252 | 3058.1505
64 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 2" Pvc Sch 40 Conduit | 75 | 5% | 78.75 | LF | 0.13 | 10.2375 | 73.945 | 757.0119 | 3.15 | 248.0625 | 1005.0744 |  | 15.8202 | 1245.8416
65 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 4" Pvc Sch 40 Conduit | 110 | 5% | 115.5 | LF | 0.177 | 20.4435 | 73.945 | 1511.6946 | 10.1 | 1166.55 | 2678.2446 |  | 29.1252 | 3363.9656
Building
Lighting Fixture
Lighting Fixture
66 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Ka – 2X2 Lay-In Manufacturer: Williams Model: Het | 40 | 0% | 40 | EA | 1.2035 | 48.14 | 73.945 | 3559.7123 | 21.75 | 870 | 4429.7123 |  | 136.784 | 5471.3584
67 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Back Box | 40 | 0% | 40 | EA | 0.212 | 8.48 | 73.945 | 627.0536 | 24 | 960 | 1587.0536 |  | 50.4215 | 2016.8589
68 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Hanger Wire | 400 | 5% | 420 | LF | 0.008 | 3.36 | 73.945 | 248.4552 | 0.2 | 84 | 332.4552 |  | 0.98158 | 412.2654
69 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 1/2" Dia Fmc Conduit | 200 | 5% | 210 | LF | 0.062 | 13.02 | 73.945 | 962.7639 | 2.44 | 512.4 | 1475.1639 |  | 8.769 | 1841.4926
70 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | U2 – 2' Under Cabinet Manufacturer: Williams Model: 1Sf | 2 | 0% | 2 | EA | 0.7885 | 1.577 | 73.945 | 116.6113 | 14.25 | 28.5 | 145.1113 |  | 89.6171 | 179.2342
71 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | F4 – 4' Strip Manufacturer: Williams Model: 75S | 4 | 0% | 4 | EA | 0.996 | 3.984 | 73.945 | 294.5969 | 18 | 72 | 366.5969 |  | 113.2005 | 452.8021
72 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Hbe – 6" Recessed Downlight W/Lens W/Battery Manufacturer: Williams Model: 6Dr | 5 | 0% | 5 | EA | 1.2865 | 6.4325 | 73.945 | 475.6512 | 23.25 | 116.25 | 591.9012 |  | 146.2173 | 731.0867
73 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Hb – 6" Recessed Downlight W/Lens Manufacturer: Williams Model: 6Dr | 27 | 0% | 27 | EA | 0.99592 | 26.8898 | 73.945 | 1988.3632 | 17.9985 | 485.9595 | 2474.3227 |  | 113.1911 | 3056.1593
74 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Wa4 – Wall Pack – Type Iv Manufacturer: Williams Model: Wmv | 2 | 0% | 2 | EA | 1.743 | 3.486 | 73.945 | 257.7723 | 31.5 | 63 | 320.7723 |  | 198.1009 | 396.2018
75 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Hd – 6" Recessed Downlight W/Drop Lens Manufacturer: Vantage Model: Vgc6Vefled | 3 | 0% | 3 | EA | 1.1205 | 3.3615 | 73.945 | 248.5661 | 20.25 | 60.75 | 309.3161 |  | 127.3506 | 382.0517
76 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Hc – 6" Recessed Downlight W/Lens Manufacturer: Williams Model: 6Dr | 8 | 0% | 8 | EA | 0.913 | 7.304 | 73.945 | 540.0943 | 16.5 | 132 | 672.0943 |  | 103.7671 | 830.1371
77 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Hce – 6" Recessed Downlight W/Lens W/Battery Manufacturer: Williams Model: 6Dr | 4 | 0% | 4 | EA | 1.3695 | 5.478 | 73.945 | 405.0707 | 24.75 | 99 | 504.0707 |  | 155.6507 | 622.6028
78 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Xa – 1 Face Em Exit Manufacturer: Chloride Model: Er55Ld | 3 | 0% | 3 | EA | 0.7055 | 2.1165 | 73.945 | 156.5046 | 12.75 | 38.25 | 194.7546 |  | 80.1837 | 240.5511
79 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | B – Fixture Provided By Owner Manufacturer: Owner Provided Model: N/A | 2 | 0% | 2 | EA | 1.56 | 3.12 | 73.945 | 230.7084 | 15 | 30 | 260.7084 |  | 160.0812 | 320.1624
80 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | A – Fixture Provided By Owner Manufacturer: Owner Provided Model: N/A | 4 | 0% | 4 | EA | 1.56 | 6.24 | 73.945 | 461.4168 | 15 | 60 | 521.4168 |  | 160.0812 | 640.3249
81 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | L – Canopy Mount Directional (Systems By Owner) Manufacturer: Owner Provided Model: N/A | 3 | 0% | 3 | EA | 2 | 6 | 73.945 | 443.67 | 22 | 66 | 509.67 |  | 208.8471 | 626.5412
82 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | C1.2 – Cove Channel – 34'-0" Manufacturer: Qtl Model: Opti-Flat | 2 | 0% | 2 | EA | 3.4 | 6.8 | 73.945 | 502.826 | 61.5 | 123 | 625.826 |  | 386.4982 | 772.9965
83 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | C1.1 – Cove Channel – 26'-0" Manufacturer: Qtl Model: Opti-Flat | 2 | 0% | 2 | EA | 3.35 | 6.7 | 73.945 | 495.4315 | 47.25 | 94.5 | 589.9315 |  | 363.3942 | 726.7883
Lighting Control
84 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Single Pole Switch, Hubbell | 8 | 0% | 8 | EA | 0.212 | 1.696 | 73.945 | 125.4107 | 1.8 | 14.4 | 139.8107 |  | 21.4434 | 171.5469
85 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Dimmer Switch, P&S Ps20Ac Series | 12 | 0% | 12 | EA | 0.35 | 4.2 | 73.945 | 310.569 | 6.75 | 81 | 391.569 |  | 40.3337 | 484.004
86 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Photocell | 1 | 0% | 1 | EA | 0.45 | 0.45 | 73.945 | 33.2752 | 9.75 | 9.75 | 43.0252 |  | 53.2561 | 53.2561
87 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Time Clock | 1 | 0% | 1 | EA | 1.1 | 1.1 | 73.945 | 81.3395 | 18 | 18 | 99.3395 |  | 122.5673 | 122.5673
Note: Hubbelhbl 1220 Series
Power
Receptacle
88 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Duplex Grounded Receptacle, Hubbell 5352A | 42 | 0% | 42 | EA | 0.2 | 8.4 | 73.945 | 621.138 | 1.32 | 55.44 | 676.578 |  | 19.736 | 828.913
89 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Ground Fault Duplex Receptacle, Hubbell Gfrst20 | 8 | 0% | 8 | EA | 0.212 | 1.696 | 73.945 | 125.4107 | 3.3 | 26.4 | 151.8107 |  | 23.4013 | 187.2107
90 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Double Duplex Grounded Receptacle Hubbell | 24 | 0% | 24 | EA | 0.2 | 4.8 | 73.945 | 354.936 | 1.95 | 46.8 | 401.736 |  | 20.5584 | 493.401
91 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Wp Ground Fault Duplex Receptacle, Hubbell #Wp26E | 4 | 0% | 4 | EA | 0.35 | 1.4 | 73.945 | 103.523 | 7.2 | 28.8 | 132.323 |  | 40.9211 | 163.6842
Panels
92 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Panel Lb Mains: 100A Mlo Voltage: 208Y/120 Volts, 3P, 4W | 1 | 0% | 1 | EA | 4 | 4 | 73.945 | 295.78 | 172.5 | 172.5 | 468.28 |  | 585.4278 | 585.4278
93 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Panel La Mains: 100A Mlo Voltage: 208Y/120 Volts, 3P, 4W | 1 | 0% | 1 | EA | 4 | 4 | 73.945 | 295.78 | 172.5 | 172.5 | 468.28 |  | 585.4278 | 585.4278
94 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Panel Mdp Mains: 300A Mlo Voltage: 208Y/120 Volts, 3P, 4W | 1 | 0% | 1 | EA | 6 | 6 | 73.945 | 443.67 | 425 | 425 | 868.67 |  | 1095.1513 | 1095.1513
Note: Manufacturer: Square D
Circuit Breakers
95 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 20A/1P Circuit Breaker With Handle Lock On Clip | 1 | 0% | 1 | EA | 0.26975 | 0.26975 | 73.945 | 19.9467 | 3.25 | 3.25 | 23.1967 |  | 28.5373 | 28.5373
96 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 20A/1P Gfci Circuit Breaker | 1 | 0% | 1 | EA | 0.747 | 0.747 | 73.945 | 55.2369 | 9 | 9 | 64.2369 |  | 79.0264 | 79.0264
97 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 20A/1P Circuit Breaker | 91 | 0% | 91 | EA | 0.18675 | 16.9943 | 73.945 | 1256.6398 | 2.25 | 204.75 | 1461.3898 |  | 19.7566 | 1797.8517
98 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 100A/3P Circuit Breaker | 1 | 0% | 1 | EA | 2.158 | 2.158 | 73.945 | 159.5733 | 26 | 26 | 185.5733 |  | 228.2986 | 228.2986
99 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 40A/3P Circuit Breaker | 1 | 0% | 1 | EA | 1.079 | 1.079 | 73.945 | 79.7867 | 13 | 13 | 92.7867 |  | 114.1493 | 114.1493
100 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 30A/1P Circuit Breaker | 1 | 0% | 1 | EA | 0.22825 | 0.22825 | 73.945 | 16.8779 | 2.75 | 2.75 | 19.6279 |  | 24.147 | 24.147
101 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 35A/3P Circuit Breaker | 2 | 0% | 2 | EA | 1.2035 | 2.407 | 73.945 | 177.9856 | 14.5 | 29 | 206.9856 |  | 127.3204 | 254.6408
102 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 25A/3P Circuit Breaker | 2 | 0% | 2 | EA | 1.0375 | 2.075 | 73.945 | 153.4359 | 12.5 | 25 | 178.4359 |  | 109.759 | 219.5179
103 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 20A/2P Circuit Breaker | 2 | 0% | 2 | EA | 0.581 | 1.162 | 73.945 | 85.9241 | 7 | 14 | 99.9241 |  | 61.465 | 122.93
104 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 70A/2P Circuit Breaker | 1 | 0% | 1 | EA | 1.328 | 1.328 | 73.945 | 98.199 | 16 | 16 | 114.199 |  | 140.4915 | 140.4915
105 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 60A/3P Circuit Breaker | 1 | 0% | 1 | EA | 1.411 | 1.411 | 73.945 | 104.3364 | 17 | 17 | 121.3364 |  | 149.2722 | 149.2722
106 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 15A/2P Circuit Breaker | 1 | 0% | 1 | EA | 0.498 | 0.498 | 73.945 | 36.8246 | 6 | 6 | 42.8246 |  | 52.6843 | 52.6843
Note: Manufacturer: Square D I-Line
Misc. Items
107 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Junction Box-2 Gang | 8 | 0% | 8 | EA | 0.21 | 1.68 | 73.945 | 124.2276 | 24 | 192 | 316.2276 |  | 50.2413 | 401.9307
108 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Special Outlet | 8 | 0% | 8 | EA | 0.2 | 1.6 | 73.945 | 118.312 | 22 | 176 | 294.312 |  | 46.7301 | 373.8404
109 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Handicap Door Push Button | 3 | 0% | 3 | EA | 0.3735 | 1.1205 | 73.945 | 82.8554 | 45 | 135 | 217.8554 |  | 92.3787 | 277.1361
110 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Fustat Buss #Ssy | 1 | 0% | 1 | EA | 0.2324 | 0.2324 | 73.945 | 17.1848 | 28 | 28 | 45.1848 |  | 57.4801 | 57.4801
111 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Floor Box | 1 | 0% | 1 | EA | 1.2035 | 1.2035 | 73.945 | 88.9928 | 145 | 145 | 233.9928 |  | 297.6647 | 297.6647
112 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | Meter Per Evergy | 1 | 0% | 1 | EA | 2.56 | 2.56 | 73.945 | 189.2992 | 350 | 350 | 539.2992 |  | 687.4286 | 687.4286
113 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 2" Emt Conduit | 50 | 5% | 52.5 | LF | 0.1 | 5.25 | 73.945 | 388.2112 | 7 | 367.5 | 755.7112 |  | 18.1437 | 952.5466
114 |  |  |  |  | 2" Conn Ss Stl - Emt | 4 | 0% | 4 | EA
115 |  |  |  |  | 2" Coupling Ss Stl - Emt | 5 | 0% | 5 | EA
116 |  |  |  |  | 2" 1-H Strap - Emt - Steel | 8 | 0% | 8 | EA
117 |  |  |  |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 11 | 0% | 11 | EA
118 |  |  |  |  | #10 X 1 P/H Self-Tap Screw | 11 | 0% | 11 | EA
Wiring & Conduits
Lighting Wiring
119 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 3#12 Awg Thhn/Thwn Wire | 1250 | 5% | 1312.5 | LF | 0.02181 | 28.6256 | 73.945 | 2116.7218 | 0.654 | 858.375 | 2975.0968 |  | 2.818 | 3698.6216
120 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 4#12 Awg Thhn/Thwn Wire | 300 | 5% | 315 | LF | 0.02908 | 9.1602 | 73.945 | 677.351 | 0.872 | 274.68 | 952.031 |  | 3.7573 | 1183.5589
121 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 2#1/0 Awg, #1/0 Gnd Cu Thw | 780 | 5% | 819 | LF | 0.07272 | 59.5577 | 73.945 | 4403.9926 | 7.7268 | 6328.2492 | 10732.2418 |  | 16.6355 | 13624.4561
122 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 1" Pvc Sch 40 Conduit | 730 | 5% | 766.5 | LF | 0.099 | 75.8835 | 73.945 | 5611.2054 | 1.56 | 1195.74 | 6806.9454 |  | 10.9527 | 8395.2721
123 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 1" Emt Conduit | 50 | 5% | 52.5 | LF | 0.07 | 3.675 | 73.945 | 271.7479 | 3.11 | 163.275 | 435.0229 |  | 10.3641 | 544.1151
124 |  |  |  |  | 1" Conn Ss Stl - Emt | 4 | 0% | 4 | EA
125 |  |  |  |  | 1" Coupling Ss Stl - Emt | 5 | 0% | 5 | EA
126 |  |  |  |  | 1" 1-H Strap - Emt - Steel | 8 | 0% | 8 | EA
127 |  |  |  |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 11 | 0% | 11 | EA
128 |  |  |  |  | #10 X 1 P/H Self-Tap Screw | 11 | 0% | 11 | EA
129 |  |  | DIV-26 | Electrician | 3/4" Emt Conduit For Lighting | 1459 | 5% | 1531.95 | LF | 0.062 | 94.9809 | 73.945 | 7023.3627 | 1.7 | 2604.315 | 9627.6777 |  | 7.8031 | 11953.9213
130 |  |  |  |  | 3/4" Conn Ss Stl - Emt | 117 | 0% | 117 | EA
131 |  |  |  |  | 3/4" Coupling Ss Stl - Emt | 146 | 0% | 146 | EA
132 |  |  |  |  | 3/4" 1-H Strap - Emt - Steel | 218 | 0% | 218 | EA
133 |  |  |  |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 291 | 0% | 291 | EA
134 |  |  |  |  | #10 X 1 P/H Self-Tap Screw | 291 | 0% | 291 | EA
Power Wiring
135 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 3#12 Solid Cu Thhn/Thwn Wire | 3493 | 5% | 3667.65 | LF | 0.02181 | 79.9914 | 73.945 | 5914.9675 | 0.654 | 2398.6431 | 8313.6106 |  | 2.818 | 10335.4283
136 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 4#10 Solid Cu Thhn/Thwn Wire | 405 | 5% | 425.25 | LF | 0.032 | 13.608 | 73.945 | 1006.2436 | 1.1964 | 508.7691 | 1515.0127 |  | 4.4438 | 1889.7114
137 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 2#8 Stranded Cu Thhn/Thwn Wire | 117 | 5% | 122.85 | LF | 0.02 | 2.457 | 73.945 | 181.6829 | 0.9126 | 112.1129 | 293.7958 |  | 2.9925 | 367.633
138 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 1#10 Stranded Cu Thhn/Thwn Wire | 24 | 5% | 25.2 | LF | 0.008 | 0.2016 | 73.945 | 14.9073 | 0.2991 | 7.5373 | 22.4446 |  | 1.1109 | 27.9957
139 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | 2#4 Stranded Cu Thw Wire | 24 | 5% | 25.2 | LF | 0.03018 | 0.76054 | 73.945 | 56.2378 | 2.3322 | 58.7714 | 115.0093 |  | 5.7624 | 145.2132
140 | E101 to E-611 | E101 to E-611 | DIV-26 | Electrician | #8 Stranded Cu Thhn/Thwn Wire | 24 | 5% | 25.2 | LF | 0.01 | 0.252 | 73.945 | 18.6341 | 0.4563 | 11.4988 | 30.1329 |  | 1.4963 | 37.7059
141 |  |  | DIV-26 | Electrician | 3/4" Lfmc Conduit | 3 | 5% | 3.15 | LF | 0.062 | 0.1953 | 73.945 | 14.4415 | 2.65 | 8.3475 | 22.789 |  | 9.0431 | 28.4859
142 |  |  | DIV-26 | Electrician | 3/4" Rgs Conduit | 5 | 5% | 5.25 | LF | 0.1 | 0.525 | 73.945 | 38.8211 | 4.02 | 21.105 | 59.9261 |  | 14.2539 | 74.8329
143 |  |  | DIV-26 | Electrician | 1" Fmc Conduit | 3 | 5% | 3.15 | LF | 0.068 | 0.2142 | 73.945 | 15.839 | 3.33 | 10.4895 | 26.3285 |  | 10.4711 | 32.9841
144 |  |  | DIV-26 | Electrician | 1/2" Fmc Conduit | 15 | 5% | 15.75 | LF | 0.06 | 0.945 | 73.945 | 69.878 | 2.44 | 38.43 | 108.308 |  | 8.5889 | 135.2749
145 |  |  | DIV-26 | Electrician | 1/2" Lfmc Conduit | 9 | 5% | 9.45 | LF | 0.06 | 0.567 | 73.945 | 41.9268 | 2.56 | 24.192 | 66.1188 |  | 8.7455 | 82.6452
146 |  |  | DIV-26 | Electrician | 1/2" Rgs Conduit | 25 | 5% | 26.25 | LF | 0.08 | 2.1 | 73.945 | 155.2845 | 3 | 78.75 | 234.0345 |  | 11.1212 | 291.9305
147 |  |  | DIV-26 | Electrician | 3/4" Pvc Sch 40 Conduit For Power | 30 | 5% | 31.5 | LF | 0.091 | 2.8665 | 73.945 | 211.9633 | 0.95 | 29.925 | 241.8883 |  | 9.436 | 297.2331
148 |  |  | DIV-26 | Electrician | 1" Emt Conduit (Spare) | 105 | 5% | 110.25 | LF | 0.07 | 7.7175 | 73.945 | 570.6705 | 3.11 | 342.8775 | 913.548 |  | 10.3641 | 1142.6417
149 |  |  | DIV-26 | Electrician | 1-1/4" Emt Conduit For Power | 105 | 5% | 110.25 | LF | 0.08 | 8.82 | 73.945 | 652.1949 | 4.83 | 532.5075 | 1184.7024 |  | 13.5099 | 1489.4663
150 |  |  | DIV-26 | Electrician | 3/4" Emt Conduit For Power | 3395 | 5% | 3564.75 | LF | 0.062 | 221.0145 | 73.945 | 16342.9172 | 1.7 | 6060.075 | 22402.9922 |  | 7.8031 | 27816.013
151 |  |  |  |  | 3/4" Conn Ss Stl - Emt | 272 | 0% | 272 | EA
152 |  |  |  |  | 3/4" Coupling Ss Stl - Emt | 340 | 0% | 340 | EA
153 |  |  |  |  | 3/4" 1-H Strap - Emt - Steel | 506 | 0% | 506 | EA
154 |  |  |  |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 676 | 0% | 676 | EA
155 |  |  |  |  | #10 X 1 P/H Self-Tap Screw | 676 | 0% | 676 | EA
156 |  |  | DIV-26 | Electrician | 1/2" Emt Conduit For Power | 135 | 5% | 141.75 | LF | 0.042 | 5.9535 | 73.945 | 440.2316 | 1.1 | 155.925 | 596.1566 |  | 5.2186 | 739.7341
157 |  |  |  |  | 1/2" Conn Ss Stl - Emt | 11 | 0% | 11 | EA
158 |  |  |  |  | 1/2" Coupling Ss Stl - Emt | 14 | 0% | 14 | EA
159 |  |  |  |  | 1/2" 1-H Strap - Emt - Steel | 21 | 0% | 21 | EA
160 |  |  |  |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 28 | 0% | 28 | EA
161 |  |  |  |  | #10 X 1 P/H Self-Tap Screw | 28 | 0% | 28 | EA
162 |  |  | DIV-26 | Electrician | 1" Emt Conduit For Power | 24 | 5% | 25.2 | LF | 0.07 | 1.764 | 73.945 | 130.439 | 3.11 | 78.372 | 208.811 |  | 10.3641 | 261.1753
163 |  |  |  |  | 1" Conn Ss Stl - Emt | 2 | 0% | 2 | EA
164 |  |  |  |  | 1" Coupling Ss Stl - Emt | 3 | 0% | 3 | EA
165 |  |  |  |  | 1" 1-H Strap - Emt - Steel | 4 | 0% | 4 | EA
166 |  |  |  |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 6 | 0% | 6 | EA
167 |  |  |  |  | #10 X 1 P/H Self-Tap Screw | 6 | 0% | 6 | EA
|  |  | DIV-27 |  | Communication | [11 empty] | 4332.9928
Communication Devices
168 | E101 to E-611 | E101 to E-611 | DIV-27 | Communication | Telecommunication Outlet & Jacks | 16 | 0% | 16 | EA | 0.35 | 5.6 | 73.945 | 414.092 | 4.5 | 72 | 486.092 |  | 37.3967 | 598.3471
169 | E101 to E-611 | E101 to E-611 | DIV-27 | Communication | Data Rack Provided By Owner | 1 | 0% | 1 | EA | 2 | 2 | 73.945 | 147.89 | 0 | 0 | 147.89 |  | 180.13 | 180.13
170 | E101 to E-611 | E101 to E-611 | DIV-27 | Communication | Conduit Sleeve | 12 | 0% | 12 | EA | 0.12 | 1.44 | 73.945 | 106.4808 | 1.2 | 14.4 | 120.8808 |  | 12.3742 | 148.4902
171 | E101 to E-611 | E101 to E-611 | DIV-27 | Communication | Push Button | 2 | 0% | 2 | EA | 0.212 | 0.424 | 73.945 | 31.3527 | 2.8 | 5.6 | 36.9527 |  | 22.7487 | 45.4974
172 | E101 to E-611 | E101 to E-611 | DIV-27 | Communication | Floor Box | 2 | 0% | 2 | EA | 1.23 | 2.46 | 73.945 | 181.9047 | 14.5 | 29 | 210.9047 |  | 129.7071 | 259.4142
173 | E101 to E-611 | E101 to E-611 | DIV-27 | Communication | Wireless Access Point | 1 | 0% | 1 | EA | 1.5 | 1.5 | 73.945 | 110.9175 | 18 | 18 | 128.9175 |  | 158.5933 | 158.5933
Misc. Items
174 |  |  | DIV-26 | Electrician | Junction Box-2 Gang | 1 | 0% | 1 | EA | 0.212 | 0.212 | 73.945 | 15.6763 | 28 | 28 | 43.6763 |  | 55.6428 | 55.6428
Wiring & Conduits
Communication Wiring
175 |  |  | DIV-27 | Communication | Cat6 Cable | 1136 | 5% | 1192.8 | LF | 0.008 | 9.5424 | 73.945 | 705.6128 | 0.25 | 298.2 | 1003.8128 |  | 1.0469 | 1248.6829
176 |  |  | DIV-27 | Communication | (2_ 4" Pvc Sch 40 Conduit To I.T Room | 27 | 5% | 28.35 | LF | 0.177 | 5.0179 | 73.945 | 371.0523 | 10.1 | 286.335 | 657.3873 |  | 29.1252 | 825.7006
177 |  |  | DIV-27 | Communication | 1" Emt Conduit With Pull String | 12 | 5% | 12.6 | LF | 0.07 | 0.882 | 73.945 | 65.2195 | 3.11 | 39.186 | 104.4055 |  | 10.3641 | 130.5876
178 |  |  | DIV-27 | Communication | 1" Emt Conduit | 160 | 5% | 168 | LF | 0.07 | 11.76 | 73.945 | 869.5932 | 3.11 | 522.48 | 1392.0732 |  | 10.3641 | 1741.1683
179 |  |  |  |  | 3/4" Conn Ss Stl - Emt | 13 | 0% | 13 | EA
180 |  |  |  |  | 3/4" Coupling Ss Stl - Emt | 16 | 0% | 16 | EA
181 |  |  |  |  | 3/4" 1-H Strap - Emt - Steel | 25 | 0% | 25 | EA
182 |  |  |  |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 33 | 0% | 33 | EA
183 |  |  |  |  | #10 X 1 P/H Self-Tap Screw | 33 | 0% | 33 | EA
|  |  | DIV-28 |  | Electronic Safety & Security | [11 empty] | 29961.1312
Fire Alarm System
184 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Photoelectric Area Smoke Detector | 2 | 0% | 2 | EA | 0.7055 | 1.411 | 73.945 | 104.3364 | 8.5 | 17 | 121.3364 |  | 74.6361 | 149.2722
185 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Fire Alarm Control Panel W/ Backbox | 1 | 0% | 1 | EA | 4.85 | 4.85 | 73.945 | 358.6332 | 225 | 225 | 583.6332 |  | 730.5124 | 730.5124
186 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Card Reader W/ 4"X4"X2.5"D Back Box | 7 | 0% | 7 | EA | 2.656 | 18.592 | 73.945 | 1374.7854 | 32 | 224 | 1598.7854 |  | 280.9829 | 1966.8804
187 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Fire Alarm Visual Signal | 6 | 0% | 6 | EA | 1.245 | 7.47 | 73.945 | 552.3691 | 15 | 90 | 642.3691 |  | 131.7107 | 790.2645
188 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Comb. F.A. Speaker & Vis Signal | 4 | 0% | 4 | EA | 1.743 | 6.972 | 73.945 | 515.5445 | 21 | 84 | 599.5445 |  | 184.395 | 737.5802
189 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Fire Alarm Manual Station, Flush Mounted, Die Cast Metal Material | 2 | 0% | 2 | EA | 0.7885 | 1.577 | 73.945 | 116.6113 | 9.5 | 19 | 135.6113 |  | 83.4168 | 166.8336
Sensor
190 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | 1 Relay Occupancy Sensor Sw | 2 | 0% | 2 | EA | 0.6225 | 1.245 | 73.945 | 92.0615 | 7.5 | 15 | 107.0615 |  | 65.8554 | 131.7107
Security System
191 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Security Alarm Control Panel | 1 | 0% | 1 | EA | 4.23 | 4.23 | 73.945 | 312.7874 | 180 | 180 | 492.7874 |  | 615.9327 | 615.9327
192 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Glass Break Sensor | 10 | 0% | 10 | EA | 0.7885 | 7.885 | 73.945 | 583.0563 | 9.5 | 95 | 678.0563 |  | 83.4168 | 834.168
193 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | 8"X8"X4" Junction Box W/ Blank Cover Plate | 4 | 0% | 4 | EA | 0.0996 | 0.3984 | 73.945 | 29.4597 | 1.2 | 4.8 | 34.2597 |  | 10.5369 | 42.1474
194 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Cash Room Key Cabinet | 1 | 0% | 1 | EA | 1.826 | 1.826 | 73.945 | 135.0236 | 22 | 22 | 157.0236 |  | 193.1758 | 193.1758
195 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Keypad | 1 | 0% | 1 | EA | 1.494 | 1.494 | 73.945 | 110.4738 | 18 | 18 | 128.4738 |  | 158.0529 | 158.0529
196 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Electric Strike | 5 | 0% | 5 | EA | 2.407 | 12.035 | 73.945 | 889.9281 | 29 | 145 | 1034.9281 |  | 254.6408 | 1273.2039
197 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Magnetic Lock W/ 2"X4"X2"D Junction Box | 5 | 0% | 5 | EA | 2.988 | 14.94 | 73.945 | 1104.7383 | 36 | 180 | 1284.7383 |  | 316.1058 | 1580.5289
198 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Water Sensor | 3 | 0% | 3 | EA | 0.7055 | 2.1165 | 73.945 | 156.5046 | 8.5 | 25.5 | 182.0046 |  | 74.6361 | 223.9083
199 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Wireless Hold-Up/Duress Single Button Switch | 10 | 0% | 10 | EA | 0.7885 | 7.885 | 73.945 | 583.0563 | 9.5 | 95 | 678.0563 |  | 83.4168 | 834.168
200 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Electric Strike W/ 2"X4"X2" D Junction Box | 1 | 0% | 1 | EA | 2.656 | 2.656 | 73.945 | 196.3979 | 32 | 32 | 228.3979 |  | 280.9829 | 280.9829
201 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | 360 Degree Infrared Motion Detector | 2 | 0% | 2 | EA | 1.826 | 3.652 | 73.945 | 270.0471 | 22 | 44 | 314.0471 |  | 193.1758 | 386.3515
202 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Coin Locker Door Contact W/ Junction Box | 3 | 0% | 3 | EA | 0.7055 | 2.1165 | 73.945 | 156.5046 | 8.5 | 25.5 | 182.0046 |  | 74.6361 | 223.9083
203 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Cash Dispatch Door Contact And Heat Detector W/ Junction Box | 2 | 0% | 2 | EA | 0.7885 | 1.577 | 73.945 | 116.6113 | 9.5 | 19 | 135.6113 |  | 83.4168 | 166.8336
204 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Bill Trap (Money Clip) | 1 | 0% | 1 | EA | 0.3735 | 0.3735 | 73.945 | 27.6185 | 4.5 | 4.5 | 32.1185 |  | 39.5132 | 39.5132
205 | E101 to E-611 | E101 to E-611 | DIV-28 | Electronic Safety and Security (FA) | Wireless Receiver Hub | 2 | 0% | 2 | EA | 2.905 | 5.81 | 73.945 | 429.6205 | 35 | 70 | 499.6205 |  | 307.3251 | 614.6501
Misc. Items
206 |  |  | DIV-26 | Electrician | 8"Wx6" H Junction Box | 1 | 0% | 1 | EA | 0.212 | 0.212 | 73.945 | 15.6763 | 28 | 28 | 43.6763 |  | 55.6428 | 55.6428
Wiring & Conduits
Fire Alarm Wiring
207 |  |  | DIV-28 | Electronic Safety and Security (FA) | 2#14 Awg Cu Thhn Wire | 1461 | 5% | 1534.05 | LF | 0.0123 | 18.8688 | 73.945 | 1395.2545 | 0.286 | 438.7383 | 1833.9928 |  | 1.4811 | 2272.1141
208 |  |  | DIV-28 | Electronic Safety and Security (FA) | (3) Cat5 & 1 Yellow Composite Cable | 120 | 5% | 126 | LF | 0.008 | 1.008 | 73.945 | 74.5366 | 0.25 | 31.5 | 106.0366 |  | 1.0469 | 131.9031
209 |  |  | DIV-28 | Electronic Safety and Security (FA) | (3) 2" Non Metallic Conduit W/ Bushings | 54 | 5% | 56.7 | LF | 0.32 | 18.144 | 73.945 | 1341.6581 | 28.5 | 1615.95 | 2957.6081 |  | 66.0224 | 3743.4721
210 |  |  | DIV-28 | Electronic Safety and Security (FA) | Cctv Cabling | 250 | 5% | 262.5 | LF | 0.008 | 2.1 | 73.945 | 155.2845 | 0.25 | 65.625 | 220.9095 |  | 1.0469 | 274.7982
211 |  |  | DIV-28 | Electronic Safety and Security (FA) | 1-1/2" Pvc Sch 40 Conduit | 120 | 5% | 126 | LF | 0.114 | 14.364 | 73.945 | 1062.146 | 2.7 | 340.2 | 1402.346 |  | 13.7918 | 1737.7638
212 |  |  | DIV-28 | Electronic Safety and Security (FA) | 1-1/2" Emt Conduit | 200 | 5% | 210 | LF | 0.08 | 16.8 | 73.945 | 1242.276 | 4.83 | 1014.3 | 2256.576 |  | 13.5099 | 2837.0787
213 |  |  | DIV-28 | Electronic Safety and Security (FA) | 3/4" Emt Conduit | 487 | 5% | 511.35 | LF | 0.062 | 31.7037 | 73.945 | 2344.3301 | 1.7 | 869.295 | 3213.6251 |  | 7.8031 | 3990.1026
214 |  |  |  |  | 3/4" Conn Ss Stl - Emt | 39 | 0% | 39 | EA
215 |  |  |  |  | 3/4" Coupling Ss Stl - Emt | 49 | 0% | 49 | EA
216 |  |  |  |  | 3/4" 1-H Strap - Emt - Steel | 73 | 0% | 73 | EA
217 |  |  |  |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 97 | 0% | 97 | EA
218 |  |  |  |  | #10 X 1 P/H Self-Tap Screw | 97 | 0% | 97 | EA
219 |  |  | DIV-28 | Electronic Safety and Security (FA) | 1" Emt Conduit | 203 | 5% | 213.15 | LF | 0.07 | 14.9205 | 73.945 | 1103.2964 | 3.11 | 662.8965 | 1766.1929 |  | 10.3641 | 2209.1073
220 |  |  |  |  | 1" Conn Ss Stl - Emt | 17 | 0% | 17 | EA
221 |  |  |  |  | 1" Coupling Ss Stl - Emt | 21 | 0% | 21 | EA
222 |  |  |  |  | 1" 1-H Strap - Emt - Steel | 32 | 0% | 32 | EA
223 |  |  |  |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 42 | 0% | 42 | EA
224 |  |  |  |  | #10 X 1 P/H Self-Tap Screw | 42 | 0% | 42 | EA
225 |  |  | DIV-28 | Electronic Safety and Security (FA) | 1-1/2" Emt Conduit | 40 | 5% | 42 | LF | 0.089 | 3.738 | 73.945 | 276.4064 | 5.9 | 247.8 | 524.2064 |  | 15.7172 | 660.1214
226 |  |  |  |  | 1-1/2" Conn Ss Stl - Emt | 4 | 0% | 4 | EA
227 |  |  |  |  | 1-1/2" Coupling Ss Stl - Emt | 4 | 0% | 4 | EA
228 |  |  |  |  | 1-1/2" 1-H Strap - Emt - Steel | 7 | 0% | 7 | EA
229 |  |  |  |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 9 | 0% | 9 | EA
230 |  |  |  |  | #10 X 1 P/H Self-Tap Screw | 9 | 0% | 9 | EA
Wiring & Conduits
Security Wiring
231 |  |  | DIV-28 | Electronic Safety and Security (FA) | 22/4 And 18/2 Shielded/Stranded Cable | 1021.37 | 5% | 1072.4385 | LF | 0.012 | 12.8693 | 73.945 | 951.6176 | 1.1 | 1179.6824 | 2131.2999 |  | 2.5166 | 2698.9337
232 |  |  | DIV-28 | Electronic Safety and Security (FA) | 1" Emt Conduit | 420 | 5% | 441 | LF | 0.07 | 30.87 | 73.945 | 2282.6822 | 3.11 | 1371.51 | 3654.1921 |  | 10.3641 | 4570.5669
233 |  |  |  |  | 1" Conn Ss Stl - Emt | 34 | 0% | 34 | EA
234 |  |  |  |  | 1" Coupling Ss Stl - Emt | 42 | 0% | 42 | EA
235 |  |  |  |  | 1" 1-H Strap - Emt - Steel | 63 | 0% | 63 | EA
236 |  |  |  |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 84 | 0% | 84 | EA
237 |  |  |  |  | #10 X 1 P/H Self-Tap Screw | 84 | 0% | 84 | EA
SUB TOTAL | [9 empty] | Total Lab. Hours = | 1578.5413 | Total Lab. Cost = | 116326.3395 | Total Mat. Cost = | 52544.9077 | 168871.2472 | 168871.2472 |  | 210273.424
MATERIAL TAX | [11 empty] | 8.603% |  |  | 4520.4384 | 4520.4384 | 4520.4384
OVERHEAD & PROFIT / INFLATION (Material) | [11 empty] | 20% |  |  | 10508.9815 | 10508.9815 | 10508.9815
OVERHEAD & PROFIT (Labor) | [11 empty] | 20% | 23265.2679 |  |  | 23265.2679 | 23265.2679
BOND FEE | [11 empty] | 1.5% | 2093.8741 |  | 1013.6149 | 3107.489 | 3107.489
TOTAL BASE BID | [12 empty] | 141685.4815 |  | 68587.9425 | 210273.424 | 210273.424 |  | 210273.424

## Dashboard
Project Dashboard
Contentration of Sub-Contractor Cost
Intrust Bank-Topeka Branch
2/12/2026
$210,273
Private (Non-Prevailing wage)
1035 SW Topeka Blvd, Topeka, KS 66612
GC
Project Name
Date
Base Bid
Project Type
Address
Scope of Work
$52,545
Material
$115,246
Labor
$4,520
Material Tax
$10,509
Material Profit
$23,049
Labor Profit
$3,107
Bond Fee
Base Bid
$210,273
By Others
Separate Permit

## Data for Dashboard (hidden)
Pie Chart:
| Type | Amount
| Material | #REF! | #REF!
| Labor | #REF! | #REF! | Type | Percentage
| Material Tax | #REF! | #REF! | Material Tax | #REF!
| Overhead & Profit (Material) | #REF! | #REF! | Overhead & Profit (Material) | #REF!
| Overhead & Profit (Labor) | #REF! | #REF! | Overhead & Profit (Labor) | #REF!
| Bond Fee | #REF! | #REF! | Bond Fee | #REF!
|  | #REF! |  | OH & P on subnotes | 5%

## COST SUMMARY
COST SUMMARY
|  | Date: | 4606500% |  | Project Type: | Private (Non-Prevailing wage)
|  | Project: | Intrust Bank-Topeka Branch |  | Scope of Work: | GC
|  | Project Location: | 1035 SW Topeka Blvd, Topeka, KS 66612 |  | Total Base Bid: | 210273.424
| BASE BID /ALTERNATES/ALLOWANCES |  | TOTAL COSTS | Please enter the sub-quotes in column R (Highlighted orange) against each division/trade and update the Overhead & Profit % as required below; column K will be updated automatically with Subquotes with OH&P. If there is no value entered in column R, the cost from column J (by DE) will be picked.
| Base Bid |  | 210273.424
| Hourly Rates Tab |  |  | OH&P on Subquotes |  | 5%

## HOURLY RATES
Note: Adjusting the per hour labor rate in the table below will automatically update the labor pricing for whole project. To bypass the per hour labor rate for a single item, please put the per hour labor rate against that item in column M of relative tab.
Please don’t edit anything below, without the approval of the Manager (Estimating Department)
CSI Div. | Sub-Contractor/Trade List | Hourly Rates
DIV-1 | General Requirements | 73.945 | CLICK HERE TO GO BACK TO COST SUMMARY
DIV-10 | Accessories | 10
DIV-09 | Acoustical and Metal Ceiling | 10
DIV-11 | Appliances | 10
DIV-02 | Asbestos Worker | 10
DIV-10 | Awnings / Canopies | 10
DIV-12 | Cabinetry | 10
DIV-06 | Carpenter Millwork | 10
DIV-09 | Ceiling - Others | 10
DIV-07 | Cladding - Metal | 10
DIV-06 | Cladding - Wood | 10
DIV-06 | Cladding - Other | 10
DIV-09 | Clean - Power Wash | 10
DIV-31 | Clearing & Grubbing | 10
DIV-27 | Communication | 73.945
DIV-03 | Concrete - Building | 10
DIV-12 | Countertops | 10
DIV-08 | Curtain Wall | 10
DIV-02 | Demo - Building | 54
DIV-02 | Demo - Site | 10
DIV-31 | Dewatering | 10
DIV-08 | Doors & Hardware | 10
DIV-09 | Dry Waller | 10
DIV-31 | Earth worker | 10
DIV-26 | Electrician | 73.945
Div-28 | Electronic Safety and Security (FA) | 73.945
DIV-14 | Elevator | 10
DIV-11 | Equipment | 10
DIV-31 | Erosion Control | 10
DIV-32 | Exterior improvements | 10
DIV-09 | Exterior Painter | 10
DIV-10 | Exterior Signage | 10
DIV-32 | Fencing and Gates - Metal | 10
DIV-32 | Fencing and Gates - Wood | 10
DIV-32 | Fencing and Gates - Other | 10
DIV-06 | Finish Carpenter | 10
DIV-09 | Fire Proofing | 10
DIV-21 | Fire Suppression | 10
DIV-10 | Fireplace | 10
DIV-09 | Flooring | 10
DIV-10 | Folding/Moveable Partition | 10
DIV-05 | Framer Cold Form | 10
DIV-09 | Framer Light Gauge | 10
DIV-06 | Framer Lumber | 10
DIV-06 | Framer Rough Carpenter | 10
DIV-12 | Furniture | 10
DIV-08 | Glazier | 10
DIV-02 | Hazardous Material Handler | 10
DIV-07 | Insulation | 10
DIV-09 | Interior Painter | 10
DIV-10 | Interior Signage | 10
DIV-32 | Irrigation | 10
DIV-07 | Joint Sealants | 10
DIV-32 | Landscaper | 10
DIV-12 | Mailboxes | 10
DIV-04 | Mason - Brick Veneer | 10
DIV-04 | Mason - Cast Stone | 10
DIV-04 | Mason - CMU | 10
DIV-23 | Mechanical | 10
DIV-06 | Millwork | 10
DIV-05 | Ornamental Steel | 10
DIV-05 | Paneling - Metal | 10
DIV-06 | Paneling - Wood | 10
DIV-06 | Paneling - Other | 10
DIV-32 | Paving | 10
DIV-06 | Pergolas | 10
DIV-31 | Piling | 10
DIV-11 | Playground Equipment | 10
DIV-22 | Plumber | 10
DIV-13 | Pool | 10
DIV-03 | Precast Concrete | 10
DIV-13 | Pre-Engineered Metal Building | 10
DIV-06 | Roof Sheathing | 10
DIV-07 | Roofer | 10
DIV-06 | Sheathing | 10
DIV-31 | Shoring/SOE | 10
DIV-07 | Siding Contractor | 10
DIV-03 | Site Concrete | 10
DIV-26 | Site Electrical | 10
DIV-12 | Site Furnishing | 10
DIV-09 | Site Paint | 10
DIV-10 | Site Signage | 10
DIV-08 | Skylight | 10
DIV-13 | Special Construction | 10
DIV-05 | Staircases and Railings - Metal | 10
DIV-06 | Staircases and Railings - Wood | 10
DIV-08 | Storefront | 10
DIV-05 | Structural Steel | 10
DIV-07 | Stucco - EIFS | 10
DIV-09 | Tiler | 10
DIV-10 | Toilet Partitions | 10
DIV-34 | Traffic Control | 10
DIV-06 | Trellis | 10
DIV-06 | Truss | 10
DIV-33 | Utilities | 10
DIV-09 | Wall Covering | 10
DIV-07 | Water Proofing & Damp Proofing | 10
DIV-08 | Window Installer | 10
DIV-10 | Wire Shelving | 10
DIV-00 | Z
DIV-01 | Z
Unit | Wastage
EA | 0%
LF | 5%
SF | 5%
SY | 5%
LBS | 5%
TONS | 5%
CY | 5%
LS | 0%

## Data for Rough Cost (hidden)
Categories | Commercial | Residential | Type | Code | Default1 | Default2 | Default3 | Default4 | Default5 | Default6 | Default7 | Default8 | Default9 | Default10 | Default11 | Default12 | Default13 | Default14 | Default15 | Default16 | Default17 | Default18 | Default19 | Default20 | Default21 | Default22 | Default23 | Default24 | Default25 | Default26 | Default27 | Default28 | Default29 | Default30 | Default31 | Default32 | Default33 | Default34 | Default35 | Default36 | Default37 | Default38 | Default39 | Default40 | Default41 | Default42 | Default43 | Default44 | Default45 | Default46 | Default47 | Default48 | Default49 | Default50 | Default51 | Default52 | Default53 | Default54 | Default55 | Default56 | Default57 | Default58 | Default59 | Default60 | Default61 | Default62 | Default63 | Default64 | Default65 | Default66 | Default67 | Default68 | Default69 | Default70 | Default71 | Default72 | Default73 | Default74 | Default75 | Default76 | Default77 | Default78 | Default79 | Default80 | Default81 | Default82 | Default83 | Default84 | Default85 | Default86 | Default87 | Default88 | Default89 | Default90 | Default91 | Default92 | Default93 | Default94 | Default95 | Default96 | Default97 | Default98 | Default99 | Default100 | Default101 | Economy1 | Economy2 | Economy3 | Economy4 | Economy5 | Economy6 | Economy7 | Economy8 | Average1 | Average2 | Average3 | Average4 | Average5 | Average6 | Average7 | Average8 | Average9 | Average10 | Average11 | Average12 | Custom1 | Custom2 | Custom3 | Custom4 | Custom5 | Custom6 | Custom7 | Custom8 | Custom9 | Custom10 | Luxury1 | Luxury2 | Luxury3 | Luxury4 | Luxury5 | Luxury6 | Luxury7 | Luxury8 | Luxury9 | Luxury10
Commercial | Default | Economy | Apartment 1-3 Story | Default1 | Brick Veneer/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Brick Veneer & Concrete Block / Bearing Walls | Concrete Block/Bearing Walls | Face Brick & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Concrete Block/Steel Roof Deck | Decorative Concrete Block/Bearing walls | Concrete Block/Bearing Walls | Decorative Concrete Block/Steel Truss | Brick Veneer/Wood Frame | Decorative Concrete Block/Steel Joist | Brick Veneer/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Decorative Concrete Block/Bearing walls | Decorative Concrete Block/Reinforced Concrete | Decorative Concrete Block/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Brick Veneer/ Rigid Steel | Decorative Concrete Block/Bearing walls | Face Brick & Concrete Block/Reinforced Concrete | Decorative Concrete Block/Bearing walls | Brick Veneer/ Reinforeced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Brick Veneer/wood Frame | Concrete Block/Bearing Wall | Face Brick & Common Brick/Reinforced Concrete | Decorative Concrete Block/Bearing walls | Decorative Concrete Block/Bearing walls | Decorative Concrete Block/Precast Concrete | Decorative Concrete Block/Precast Concrete | Aluminum Clapboard/Wood Frame | Aluminum Clapboard/Wood Frame | Aluminum Clapboard/Wood Frame | E.I.F.S. & Concrete Block/Rigid Steel | Cast in Place Concrete/Reinforced Concrete | Cast in Place Concrete/Steel Joists | Aluminum Clapboard/Wood Frame | Cast in Place Concrete/Reinforced Concrete | Cast in Place Concrete/Reinforced Concrete | Concrete Block/Bearing Walls | Brick Veneer/Wood Frame | Brick Veneer/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Cast in Place Concrete/Rigid Steel | Decorative Concrete Block/Bearing walls | Face Brick & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Brick Veneer/Wood Truss | Brick Veneer/Reinforced Concrete | Brick Veneer/Wood Frame | Aluminum Clapboard/Wood Frame | Aluminum Clapboard/Wood Frame | Brick Veneer/Wood Frame | Brick Veneer/Wood Frame | Conrete Block/Steel Joists | Face Brick & Concrete Block/Bearing walls | Brick Veneer/Reinforced Concrete | Brick Veneer/Wood Truss | Brick Veneer/Reinforced Concrete | Curtain Wall/Reinforced Conrete | Brick Veneer/Reinforced Concrete | Brick Veneer/Wood Frame | Brick Veneer/Reinforced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Brick Veneer/Rigid Steel | Decorative Concrete Block/Bearing walls | Decorative Concrete Block/Bearing walls | Aluminum Clapboard/Wood Truss | Decorative Concrete Block/Bearing walls | Brick Veneer/Rigid Steel | Face Brick & Concrete Block/Steel Joists | Brick Veneer/Wood Frame | E.I.F.S./Reinforced Concrete | Fiber Cement/Rigid Steel | Brick Veneer/Reinforced Concrete | Decorative Concrete Block/Bearing walls | Brick Veneer/Reinforced Concrete | Decorative Concrete Block/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Decorative Concrete Block/Bearing walls | Decorative Concrete Block/Bearing walls | Decorative Concrete Block/Bearing walls | Face Brick/Wood Frame | Decorative Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Face Brick & Concrete Block/Bearing Walls | Concrete Block/Precast Concrete | Decorative Concrete Block/Bearing walls | Brick Veneer/Wood Frame | Face Brick & Concrete Block/Reinforced Concrete | Brick Veneer/Wood Truss | Brick Veneer/Reinforced Concrete | Concrete Block/Bearing Walls | Concrete Block/Reinforced Concrete | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | 6" Log - Solid Wall | 6" Log - Solid Wall | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame
Residential |  | Average | Apartment 4-7 Story | Default2 | Brick Veneer/Rigid Steel | Brick Veneer/Rigid Steel | Brick Veneer/Rigid Steel | Brick Veneer & Concrete Block / Wood Truss | Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Decorative Concrete Block/Steel Roof Deck | Decorative Concrete Block/Rigid Steel | Concrete Block/Rigid Steel | Decorative Concrete Block/Wood Arch | Stone Ashlar & Cocnrete block/Steel Joist | Decorative Concrete Block/Wood Joist | Brick Veneer/Rigid Steel | Brick Veneer/Rigid Steel | Decorative Concrete Block/Rigid Steel | Decorative Concrete Block/Rigid Steel | Decorative Concrete Block/Rigid Steel | Brick Veneer/Rigid Steel | Brick Veneer/ Reinforced Concrete | Decorative Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Decorative Concrete Block/Rigid Steel | Curtain Wall/Rigid steel | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Decorative Concrete Block/Bearing walls | Concrete Block/Rigid Steel | Face Brick & Common Brick/Rigid Steel | Decorative Concrete Block/Steel Joist | Decorative Concrete Block/Steel Joist | Decorative Concrete Block/Steel Joists | Decorative Concrete Block/Steel Joists | Decorative Concrete Block/Wood Joists | Brick Veneer/Wood Frame | Brick Veneer/Wood Frame | Face Brick & Concrete Block/Bearing walls | Cast in Place Concrete/Rigid Steel | Cast in Place Concrete/Wood Joists | Face Brick & Concrete Block/Steel Joists | Concrete Block/Rigid Steel | Concrete Block/Rigid Steel | Concrete Block/Rigid Steel | Curtain Wall/Rigid steel | Curtain Wall/Rigid steel | Curtain Wall/Rigid steel | Curtain Wall/Rigid steel | Face Brick & Concrete Block/Reinforced Concrete | Decorative Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | E.I.F.S./Rigid Steel | Face Brick & Concrete Block/Steel Joists | E.I.F.S./Rigid Steel | Face Brick & Concrete Block/Steel Joists | Brick Veneer/Wood Frame | Brick Veneer/Wood Frame | Decorative Concrete Block/Precast Concrete | Decorative Concrete Block/Precast Concrete | Decorative Concrete Block/Steel Joists | Face Brick & Concrete Block/Rigid Steel | E.I.F.S./Rigid Steel | E.I.F.S. & Metal Studs/Steel Roof Deck | Curtain Wall/Rigid Steel | Curtain Wall/Rigid Steel | E.I.F.S./Rigid Steel | Curtain Wall/Reinforced Conrete | Curtain Wall/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Brick Veneer/Wood Truss | Decorative Concrete Block/Reinforced Concrete | Decorative Concrete Block/Reinforced Concrete | Metal Panel & Wood Studs/Wood Truss | Decorative Concrete Block/Rigid Steel | Concrete Block/Rigid Steel | Face Brick & Concrete Block/Wood Joists |  |  | Stone Veneer/Rigid Steel | E.I.F.S./Rigid Steel | Decorative Concrete Block/Rigid Steel | E.I.F.S./Rigid Steel | Decorative Concrete Block/Rigid Steel | E.I.F.S./Rigid Steel | Decorative Concrete Block/Rigid Steel | Decorative Concrete Block/Rigid Steel | Decorative Concrete Block/Rigid Steel | Metal Sandwich Panel/Rigid Steel | Decorative Concrete Block/Steel Joists | Face Brick & Concrete Block/Rigid Steel | E.I.F.S. & Metal Studs/Steel Joists | Curtain Wall/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Concrete Block/Wood Frame | Decorative Concrete Block/Rigid Steel | E.I.F.S./Wood Frame | Face Brick & Concrete Block/Rigid Steel | E.I.F.S./Steel Joists | E.I.F.S./Rigid Steel | Concrete Block/Rigid Steel | Concrete Block/Rigid Steel | Painted Concrete Block | Painted Concrete Block | Painted Concrete Block | Painted Concrete Block | Painted Concrete Block | Painted Concrete Block | Painted Concrete Block | Painted Concrete Block | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | 8" Log - Solid Wall | 8" Log - Solid Wall | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Brick | Solid Brick | Solid Brick | Solid Brick | Solid Brick | Solid Brick | Solid Brick | Solid Brick | Solid Brick | Solid Brick
|  | Custom | Apartment 8-24 Story | Default3 | E.I.F.S. & Metal studs/Rigid Steel | Cuttain Wall/Rigid Steel | Cuttain Wall/Rigid Steel | Brick Veneer / Rigid Steel | Decorative Concrete Block/Bearing Walls | Limestone & Concrete Block/Reinforced Concrete | Limestone & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Steel Roof Deck | Face Brick & Concrete Block/Bearing walls | Face Brick & Concrete Block/Bearing walls | Face Brick & Concrete Block/Steel Truss | Stone Ashlar & Cocnrete block/Wood Truss | Face Brick & Concrete Block/Steel Joist | Cutain Wall/Rigid Steel | Cutain Wall/Rigid Steel | Face Brick & Concrete Block/Bearing walls | Face Brick & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Curtain Wall/Rigid Steel | Curtain wall/ Rigid Steel | Face Brick & Concrete Block/Bearing walls | Limestone & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Bearing walls | E.I.F.S./Rigid Steel | Limestone & Concrete Block/Reinforced Concrete | Limestone & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Steel Joist | Face Brick & Common Brick/Rigid Steel | Face Brick & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Bearing walls | Face Brick & Concrete Block/Bearing walls | Face Brick & Concrete Block/Precast Concrete | Face Brick & Concrete Block/Precast Concrete | Face Brick & Concrete Block/Bearing walls | Face Brick & Concrete Block/Wood Truss | Face Brick & Concrete Block/Wood Truss | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Precast Concrete | Concrete Block/Steel Joists | Face Brick & Concrete Block/Wood Truss | Concrete Block/Wood Arch | Concrete Block/Wood Arch | Metal Panel/Rigid Steel | E.I.F.S./Reinforced Concrete | E.I.F.S./Reinforced Concrete | E.I.F.S./Reinforced Concrete | E.I.F.S./Reinforced Concrete | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Bearing walls | Limestone & Concrete Block/Reinforced Concrete | Limestone & Concrete Block/Reinforced Concrete | Fiber Cement/Rigid Steel | Face Brick & Concrete Block/Wood Truss | Fiber Cement/Rigid Steel | Face Brick & Concrete Block/Wood Joists | Conrete Block/Wood Truss | Face Brick & Concrete Block/Wood Truss | Decorative Concrete Block/Wood Joists | Decorative Concrete Block/Wood Joists | Face Brick & Concrete Block/Steel Joists | Precast Concrete/Bearing walls | Fiber Cement/Rigid Steel | Face Brick & Concrete Block/Steel Roof Deck | E.I.F.S./Reinforced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Fiber Cement/Rigid Steel | Curtain Wall/Rigid Steel | E.I.F.S./Reinforced Concrete | Limestone & Concrete Block/Reinforced Concrete | Decorative Concrete Block/Bearing walls | Face Brick & Concrete Block/Bearing Walls | Face Brick & Concrete Block/Bearing Walls | Plywood Siding/Wood Truss | Face Brick & Concrete Block/Bearing Walls | Face Brick & Concrete Block/Bearing Walls | Limestone & Concrete Block/Steel Joists |  |  | Stucco/Reinforced Concrete | Fiber Cement/Rigid Steel | Face Brick & Concrete Block/Bearing Walls | Fiber Cement/Rigid Steel | Face Brick & Concrete Block/Reinforced Concrete | Fiber Cement/Rigid Steel | Face Brick & Concrete Block/Bearing Walls | Face Brick & Concrete Block/Bearing Walls | Face Brick & Concrete Block/Bearing Walls | Precast Concrete/Rigid Steel | Face Brick & Concrete Block/Reinforced Concrete | Face Brick & Metal Studs/Reinforced Concrete | Fiber Cement/Wood Frame | E.I.F.S./Rigid Steel | Metal Sandwich Panel/Rigid Steel | Face Brick & Concrete Block/Precast Concrete | Face Brick & Concrete Block/Bearing Walls | Face Brick & Concrete Block/Steel Joists | Limestone & Concrete Block/Reinforced Concrete | E.I.F.S./Wood Truss | Metal Panel/Rigid Steel | Face Brick & Concrete Block/Bearing walls | Metal Sandwich Panel/Rigid Steel | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame |  |  | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Solid Stone | Solid Stone | Solid Stone | Solid Stone | Solid Stone | Solid Stone | Solid Stone | Solid Stone | Solid Stone | Solid Stone
|  | Luxury | Assisted - Senior Living | Default4 | Fiber Cement/Wood Frame | E.I.F.S. & Metal studs/Rigid Steel | E.I.F.S./Rigid Steel | Brick Veneer / Wood Frame | Face Brick & Concrete Block/Bearing Walls | Limestone & Concrete Block/Rigid Steel | Limestone & Concrete Block/Rigid Steel | Jumbo Brick & Concrete Block/Steel Roof Deck | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Wood Arch | Stucco & Cocnrete Block/Steel Joist | Face Brick & Concrete Block/Wood Joist | Fiber Cement/Wood Frame | Fiber Cement/Wood Frame | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | E.I.F.S./Rigid Steel | E.I.F.S./Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Limestone & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Fiber Cement/ Rigid Steel | Limestone & Concrete Block/Rigid Steel | Limestone & Concrete Block/Rigid Steel | Stucco & Concrete Block/Wood Truss | Metal Panel/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Steel Joists | Face Brick & Concrete Block/Steel Joists | Face Brick & Concrete Block/Steel Joists | Face Brick & Concrete Block/Steel Joists | Stucco & Concrete Block/Bearing walls | Limestone & Concrete Block/Wood Truss | Limestone & Concrete Block/Wood Truss | Stucco & Concrete Block/Bearing walls | Face Brick & Concrete Block/Rigid Steel | Concrete Block/Wood Joists | Face Brick & Glazed Block/Steel Joists | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Metal Sandwich Panel/Rigid Steel | Fiber Cement/Wood Frame | Fiber Cement/Rigid Steel | Fiber Cement/Rigid Steel | Fiber Cement/Rigid Steel | Reinforced Concrete/Reinforced Concrete | Face Brick & Concrete Block/Rigid Steel | Limestone & Concrete Block/Rigid Steel | Limestone & Concrete Block/Rigid Steel | Precast Concrete/Reinforced Concrete | Stucco & Concrete Block/Steel Joists | Precast Concrete/Reinforced Concrete | Stucco & Concrete Block/Steel Joists | Face Brick & Concrete Block/Wood Truss | Precast Concrete/Wood Truss | Stucco & Concrete Block/Precast Concrete | Stucco & Concrete Block/Precast Concrete | Metal Sandwich Panel/Steel Joists | Precast Concrete/Rigid Steel | Precast Concrete/Reinforced Concrete | Face Brick & Concrete Block/Wood Truss | E.I.F.S./Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Precast Concrete/Reinforced Concrete | Face Brick & Concrete Block/Steel Joists | E.I.F.S./Rigid Steel | Limestone & Concrete Block/Rigid Steel | Decorative Concrete Block/Rigid Steel | Face Brick & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Wood Clapboard/Wood Truss | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Limestone & Concrete Block/Wood Joists |  |  | Wood Clapboard/Wood Frame | Metal Panel/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Metal Panel/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Metal Panel/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Stucco & Concrete Block/Bearing Walls | Face Brick & Concrete Block/Rigid Steel | Face Brick & Metal Studs/Rigid Steel | Stone Veneer/Rigid Steel | Metal Panel/Rigid Steel | Precast Concrete/Rigid Steel | Face Brick & Concrete Block/Wood Truss | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Wood Joists | Limestone & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Wood Truss | Pre-Engineered Metal Building/Rigid Steel | Metal Panel/Rigid Steel | Precast Concrete/Reinforced Concrete | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame |  |  | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame
|  |  | Auditurium | Default5 | Stone Veneer / Wood Frame | Precast Concrete/Reinforced Concrete | Precast Concrete/Reinforced Concrete | Vinyl Clapboard / Wood Frame | Face Brick & Concrete Block/Rigid Steel | Precast Concrete / Reinforced Concrete | Precast Concrete / Reinforced Concrete | Precast Concrete/Steel Roof Deck | Precast Concrete/Bearing walls | Metal Panel/Rigid Steel | Stone & Concrete Block/Steel Truss | Stucco & Cocnrete Block/Wood Truss | Stone Ashlar & Cocnrete block/Steel Joist | Stone Veneer/Reinforced Concrete | Stone Veneer/Reinforced Concrete | Stucco & Concrete Block/Bearing walls | Precast Concrete/Reinforced Concrete | Precast Concrete/Reinforced Concrete | Precast Concrete/Precast Concrete | Precast Concrete/Reinforced Concrete | Stucco & Concrete Block/Bearing walls | Precast Concrete / Reinforced Concrete | Tilt-up Concrete Panels/Bearing walls | Metal Panel / Reinforced Concrete | Stone & Concrete Block/ Reinforced Concrete | Stone & Concrete Block/ Reinforced Concrete | Tilt-up Concrete Panels/Steel Joists | Precast Concrete/Rigid Steel | Stucco & Concrete Block/Reinforced Concrete | Limestone & Concrete Block/Bearing walls | Limestone & Concrete Block/Bearing walls | Limestone & Concrete Block/Precast Concrete | Limestone & Concrete Block/Precast Concrete | Wood Board and Batten/Wood Frame | Stucco & Concrete Block/Wood Truss | Stucco & Concrete Block/Wood Truss | Stucco & Concrete Block/Rigid Steel | Precast Concrete / Precast Concrete | Metal Panel/Rigid Steel | Metal Sandwich Panel/Rigid Steel | Face Brick & Concrete Block/Wood Arch | Face Brick & Concrete Block/Wood Arch | Precast Concrete/Bearing Walls | Metal Panel/Reinforced Concrete | Metal Panel/Rigid Steel | Precast Concrete/Reinforced Concrete | Precast Concrete/Reinforced Concrete | Stucco & Concrete Block/Reinforced Concrete | Metal Sandwich Panel/Rigid Steel | Precast Concrete/Reinforced Concrete | Precast Concrete/Reinforced Concrete | Stone Veneer/Wood Frame | Stucco & Concrete Block/Wood Truss | Stone Veneer/Wood Frame | Stucco & Concrete Block/Wood Joists | Wood Clapboard/Wood Frame | Wood Clapboard/Wood Frame | Stucco & Concrete Block/Wood Joists | Stucco & Concrete Block/Wood Joists | Precast Concrete/Steel Joists | Stucco & Concrete Block/Bearing walls | Stone Veneer/Wood Frame | Tilt-up Concrete Panels/Steel Roof Deck | Metal Panel/Reinforced Concrete | Precast Concrete/Reinforced Concrete | Stone Veneer/Wood Frame | Face Brick & Concrete Block/Wood Joists | Metal Panel/Reinforced Concrete | Precast Concrete/Reinforced Concrete | E.I.F.S. & Concrete Block/Rigid Steel | Limestone & Concrete Block/Bearing Walls | Limestone & Concrete Block/Bearing Walls |  | Limestone & Concrete Block/Bearing Walls | Metal Panel/Rigid Steel | Stucco & Concrete Block/Steel Joists |  |  |  | Stone Veneer/Reinforced Concrete | Stucco & Concrete Block/Bearing Walls | Stone Veneer/Reinforced Concrete | Limestone & Concrete Block/Reinforced Concrete | Stone Veneer/Reinforced Concrete | Stucco & Concrete Block/Bearing Walls | Metal Panel & Metal Studs/Rigid Steel | Metal Panel & Metal Studs/Rigid Steel | Stucco & Concrete Block/Rigid Steel | Precast Concrete/Reinforced Concrete | Precast Concrete/Reinforced Concrete | Stucco/Reinforced Concrete | Stucco/Reinforced Concrete | Stucco & Concrete Block/Bearing Walls | Metal Sandwich Panel/Wood Truss | Limestone & Concrete Block/Bearing Walls | Stone & Concrete Block/Steel Joists | Stone & Concrete Block/Reinforced Concrete | Tilt-up Concrete Panels/Steel Joists | Precast Concrete/Reinforced Concrete | Metal Sandwich Panel/Rigid Steel | Precast Concrete/Rigid Steel
|  |  | Bank | Default6 | Stucco & Concrete Block/Reinforced concrete | Stucco/Reinforced concrete | Stucco/Reinforced concrete | Wood ClapBoard / Wood Frame | Precast Concrete / Rigid steel | Precast Concrete / Rigid steel | Precast Concrete / Rigid steel | Stucco & Concrete Block/Steel Roof Deck | Precast Concrete/Rigid Steel | Metal Sandwich Panel/Rigid Steel | Stone & Concrete Block/Rigid Wood Arch | Wood Shingles/wood Frame | Stone Ashlar & Cocnrete block/Wood Truss | Stone Veneer/Wood Frame | Stone Veneer/Wood Frame | Stucco & Concrete Block/Rigid Steel | Precast Concrete/Rigid Steel | Precast Concrete/Rigid Steel | Stone Veneer/Wood Frame | Stone Veneer/Reinforced Concrete | Stucco & Concrete Block/Rigid Steel | Precast Concrete / Rigid steel | Tilt-up Concrete Panels/Rigid Steel | Stone Veneer/ Wood Frame | Stone & Concrete Block/ Rigid steel | Stone & Concrete Block/ Rigid steel | Wood Clapboard/Wood Frame. | Tilt-up Concrete Panels/Rigid Steel | Stucco & Concrete Block/Rigid Steel | Limestone & Concrete Block/Steel Joists | Limestone & Concrete Block/Steel Joists | Limestone & Concrete Block/Steel Joists | Limestone & Concrete Block/Steel Joists | Wood Clapboard/Wood Frame | Wood Board and Batten/Wood Frame | Wood Board and Batten/Wood Frame | Tilt-up Concrete Panels/Rigid Steel | Precast Concrete / Rigid steel | Stucco/Wood Frame | Wood Clapboard/Wood Frame | Metal Sandwich Panel/Rigid Steel | Metal Sandwich Panel/Rigid Steel | Precast Concrete/Rigid Steel | Stone Veneer/Rigid Steel | Stone Veneer/Reinforced Concrete | Stone Veneer/Rigid Steel | Stone Veneer/Rigid Steel | Stucco & Concrete Block/Rigid Steel | Precast Concrete/Bearing Walls | Precast Concrete/Rigid Steel | Precast Concrete/Rigid Steel | Vinyl Clapboard/Wood Frame | Wood Clapboard/Wood Frame | Vinyl Clapboard/Wood Frame | Wood Clapboard/Wood Frame | Wood Shingles/Wood Frame | Wood Shingles/Wood Frame | Wood Clapboard/Wood Frame | Wood Clapboard/Wood Frame | Tilt-up Concrete Panels/Steel Joists | Stucco & Concrete Block/Steel Joists | Vinyl Clapboard/Wood Frame | Wood Clapboard/Wood Truss | Stone Veneer/Rigid Steel | Precast Concrete/Rigid Steel | Vinyl Clapboard/Wood Frame | Wood Clapboard/Wood Frame | Stone Veneer/Rigid Steel | Precast Concrete/Rigid Steel | Tilt-up Concrete Panels/Rigid Steel | Limestone & Concrete Block/Reinforced Concrete | Limestone & Concrete Block/Reinforced Concrete |  | Limestone & Concrete Block/Rigid Steel | Metal Sandwich Panel/Rigid Steel | Stucco & Concrete Block/Wood Joists |  |  |  | Tilt-up Concrete Panels/Reinforced Concrete | Stucco & Concrete Block/Rigid Steel | Tilt-up Concrete Panels/Reinforced Concrete | Limestone & Concrete Block/Rigid Steel | Tilt-up Concrete Panels/Reinforced Concrete | Stucco & Concrete Block/Rigid Steel | Metal Sandwich Panel/Rigid Steel | Metal Sandwich Panel/Rigid Steel | Wood Clapboard/Wood Frame | Precast Concrete/Steel Joists | Precast Concrete/Rigid Steel | Vinyl Clapboard/Wood Frame | Tilt-up Concrete Panels/Reinforced Concrete | Stucco & Concrete Block/Rigid Steel | Precast Concrete/Precast Concrete | Limestone & Concrete Block/Rigid Steel | Stone & Concrete Block/Wood Joists | Stone & Concrete Block/Rigid Steel | Wood Clapboard/Wood Truss | Tilt-up Concrete Panels/Reinforced Concrete | Tilt-up Concrete Panels/Rigid Steel | Tilt-up Concrete Panels/Reinforced Concrete
|  |  | Bank (Green) | Default7
|  |  | Bowling Alley | Default8
|  |  | Bus Terminal | Default9
|  |  | Car Wash | Default10
|  |  | Church | Default11
|  |  | Club, Country | Default12
|  |  | Cub, Social | Default13
|  |  | College, Classroom, 2-3 Story | Default14
|  |  | College, Dormitory, 2-3Story | Default15
|  |  | College, Classroom, 2-3 Story (Green) | Default16
|  |  | College, Dormitory, 2-3Story (Green) | Default17
|  |  | College, Dormitory, 4-8Story (Green) | Default18
|  |  | College, Dormitory, 4-8Story | Default19
|  |  | College, Laboratory | Default20
|  |  | College, Laboratory (Green) | Default21
|  |  | College, Student Union | Default22
|  |  | Community Center | Default23
|  |  | Computer Data Center | Default24
|  |  | Courthouse, 1 story | Default25
|  |  | Courthouse, 2-3story | Default26
|  |  | Day care center | Default27
|  |  | Factory, 1 Story | Default28
|  |  | Factory, 3 Story | Default29
|  |  | Fire Station Story 1 | Default30
|  |  | Fire Station Story 1 (Green) | Default31
|  |  | Fire Station Story 2 | Default32
|  |  | Fire Station Story 2 (Green) | Default33
|  |  | Fraternity/Sorority House | Default34
|  |  | Funeral Home | Default35
|  |  | Funeral Home (Green) | Default36
|  |  | Garage, Auto Sales | Default37
|  |  | Garage, Parking | Default38
|  |  | Garage, Repair | Default39
|  |  | Garage,Service Station | Default40
|  |  | Garage, Underground Parking | Default41
|  |  | Gymnasium | Default42
|  |  | Hangar, Aircraft | Default43
|  |  | Hospital 2-3 Story | Default44
|  |  | Hospital 4-8 Story | Default45
|  |  | Hotel, 4-7 Story | Default46
|  |  | Hotel, 8-24 Story | Default47
|  |  | Jail | Default48
|  |  | Laundromant | Default49
|  |  | Library | Default50
|  |  | Library (Green) | Default51
|  |  | Medical Office, 1 Story | Default52
|  |  | Medical Office, 1 Story (Green) | Default53
|  |  | Medical Office, 2 Story | Default54
|  |  | Medical Office, 2 Story (Green) | Default55
|  |  | Motel, 1 Story | Default56
|  |  | Motel, 1 Story (Green) | Default57
|  |  | Motel, 2-3 Story | Default58
|  |  | Motel, 2-3 Story (Green) | Default59
|  |  | Movie Theater | Default60
|  |  | Nursing Home | Default61
|  |  | Office, 1 Story | Default62
|  |  | Office, 1 Story (Green) | Default63
|  |  | Office, 11-20 Story | Default64
|  |  | Office, 11-20 Story (Green) | Default65
|  |  | Office, 2-4 Story | Default66
|  |  | Office, 2-4 Story (Green) | Default67
|  |  | Office, 5-10 Story | Default68
|  |  | Office, 5-10 Story (Green) | Default69
|  |  | Outpatient Surgery Center | Default70
|  |  | Police Station | Default71
|  |  | Police Station (Green) | Default72
|  |  | Post Frame Barn | Default73
|  |  | Post Office | Default74
|  |  | Racquetball court | Default75
|  |  | Religious Education | Default76
|  |  | Resturant | Default77
|  |  | Resturant (Green) | Default78
|  |  | Resturant, Fast Food | Default79
|  |  | School, Elementary | Default80
|  |  | School, Elementary (Green) | Default81
|  |  | School, High 2-3 Story | Default82
|  |  | School, High 2-3 Story (Green) | Default83
|  |  | School, Jr High, 2-3 Story | Default84
|  |  | School, Jr High, 2-3 Story (Green) | Default85
|  |  | School, Vocational | Default86
|  |  | School, Vocational (Green) | Default87
|  |  | Store, Convenience | Default88
|  |  | Store Department, 1 Story | Default89
|  |  | Store Department, 3 Story | Default90
|  |  | Store, Retail | Default91
|  |  | Supermarket | Default92
|  |  | Supermarket (Green) | Default93
|  |  | Swimming Pool, Enclosed | Default94
|  |  | Telephone Exchange | Default95
|  |  | Town Hall, 1 Story | Default96
|  |  | Town Hall, 2-3 Story | Default97
|  |  | Veterinary Hospital | Default98
|  |  | Warehouse | Default99
|  |  | Warehouse (Green) | Default100
|  |  | Warehouse Self Storage | Default101
|  |  | Economy 1 Story | Economy1
|  |  | Economy 1 Story wings & ells | Economy2
|  |  | Economy 1 - 1/2 Story | Economy3
|  |  | Economy 1 - 1/2 Story wings & ells | Economy4
|  |  | Economy 2 Story | Economy5
|  |  | Economy 2 Story wings & ells | Economy6
|  |  | Economy Bi level | Economy7
|  |  | Economy Tri level | Economy8
|  |  | Average Story 1 | Average1
|  |  | Average 1 Story wings & ells | Average2
|  |  | Average 1 - 1/2 Story | Average3
|  |  | Average 1 - 1/2 Story wings & ells | Average4
|  |  | Average 2 Story | Average5
|  |  | Average 2 Story wings & ells | Average6
|  |  | Average 2 - 1/2 Story | Average7
|  |  | Average 3 Story | Average8
|  |  | Average Bi level | Average9
|  |  | Average Tri level | Average10
|  |  | Solid Wall 1 Story | Average11
|  |  | Solid Wall 2 Story | Average12
|  |  | Custom Story 1 | Custom1
|  |  | Custom 1 Story wings & ells | Custom2
|  |  | Custom 1 - 1/2 Story | Custom3
|  |  | Custom 1 - 1/2 Story wings & ells | Custom4
|  |  | Custom 2 Story | Custom5
|  |  | Custom 2 Story wings & ells | Custom6
|  |  | Custom 2 - 1/2 Story | Custom7
|  |  | Custom 3 Story | Custom8
|  |  | Custom Bi level | Custom9
|  |  | Custom Tri level | Custom10
|  |  | Luxury Story 1 | Luxury1
|  |  | Luxury 1 Story wings & ells | Luxury2
|  |  | Luxury 1 - 1/2 Story | Luxury3
|  |  | Luxury 1 - 1/2 Story wings & ells | Luxury4
|  |  | Luxury 2 Story | Luxury5
|  |  | Luxury 2 Story wings & ells | Luxury6
|  |  | Luxury 2 - 1/2 Story | Luxury7
|  |  | Luxury 3 Story | Luxury8
|  |  | Luxury Bi level | Luxury9
|  |  | Luxury Tri level | Luxury10